## Slide 1: Precision Imaging in Cardiac MRI Late Gadolinium-Enhanced Imaging

## Slide 3: Agenda

## Slide 4: Overview of CMR Techniques

## Slide 5: Cardiac MRI Techniques

## Slide 6: Basic CMR Protocol

## Slide 7: Basic CMR Protocol

## Slide 8: Newer CMR Techniques Imaging at the Cellular Level

## Slide 9: CMR Clinical Indications

## Slide 10: Techniques for Late Gadolinium Enhancement

## Slide 11: Standard CMR Protocol

## Slide 12: Ischemic Heart Disease

## Slide 13: Conventional Cine SSFP

## Slide 14: Real-Time Cine MRI Free Breathing

## Slide 15: Real-Time Compressed Sensing

## Slide 16: Cine CMR Pre/Post GBCA

## Slide 17: LGE Imaging

## Slide 18: Contrast-Enhanced MRI of the Myocardium

## Slide 19: Contrast-Enhanced MRI of the Myocardium

## Slide 20: Contrast-Enhanced MRI of the Myocardium

## Slide 21: Contrast-Enhanced MRI of the Myocardium

## Slide 22: LGE Techniques

## Slide 23: Recommendations for LGE Imaging

## Slide 24: GBCA Dosing

## Slide 25: IR Imaging

## Slide 26: IR Prep Image to Suppress Normal Myocardium

## Slide 27: TI Scout Displays Wide Range of TIs

## Slide 28: TI Scout Displays Wide Range of TIs

## Slide 29: Phase-Sensitive IR TFL

## Slide 30: PSIR AutoViability Works Over Broader Range of TIs

## Slide 31: LGE Pulse Sequences Segmented vs Single-Shot

## Slide 32: SS IR-SSFP

## Slide 33: Free Breathing Motion-Corrected Single-Shot Imaging

## Slide 34: 3D Viability Imaging MI

## Slide 35: Rapid CMR Protocol

## Slide 36: Rapid CMR Protocol With Stress Perfusion

## Slide 37: Clinical Examples

## Slide 38: GBCAs Are Nonspecific

## Slide 39: MI

## Slide 40: Subendocardial MI

## Slide 41: MRI to Predict Wall Motion Recovery

## Slide 42: Ischemic Cardiomyopathy Scar Burden Impacts Survival

## Slide 43: Acute MI No Reflow Zone

## Slide 44: Acute Chest Pain Stunned Myocardium

## Slide 45: Intracardiac Thrombus (Recent MI)

## Slide 46: LV “True” Aneurysm

## Slide 47: LV Pseudoaneurysm With Thrombus Phase Sensitive IR TFL

## Slide 48: 64-Year-Old Male Acute Chest Pain; Troponin 24; History of CABG 8 Years Ago

## Slide 49: 64-Year-Old Male

## Slide 50: 64-Year-Old Male

## Slide 51: 64-Year-Old Male

## Slide 52: T1/ECV in Clinical Practice

## Slide 53: Native T1 Mapping in IHD

## Slide 54: Tissue Characterization Post MI

## Slide 55: Traditional and Novel CMR Tissue Characterization Techniques After Acute Myocardial Injury

## Slide 56: Artifacts

## Slide 57: Balanced SSFP Artifact

## Slide 58: Real-Time vs Segmented Cine Arrhythmia

## Slide 59: MI Patient Unable to Breathhold

## Slide 60: Incomplete Nulling of Myocardium on LGE

## Slide 61: Successful MRI of Patients With ICD

## Slide 62: Key Points